







Table cooling plates
[image: image1.jpg]



 Blue Cooler the energy-saving cooling plate
The largest cooling surface with the smallest footprint.

Energy consumption only 0.07 KW at -15 ° C

Digital temperature control

Super silent fan.

Temperature max.: -18 ° C.

96 paraffin blocks can be cooled simultaneously.

Frame made of stainless steel.

Cooling surface made of stainless steel.
Technical specifications:

Dimensions of the device: 


Refrigerant: R600a

W / D / H: 415 x 460 x 300mm 

Weight 14Kg

Dimensions of the cooling surface:

Connected load: 230V / 50Hz / 300W

W / D 345 x 344mm 



Article No. 31400
Para Cooler O Tischkühlplatte mit Kühlwanne.
[image: image2.png]




Para Cooler O table cooling plate with cooling tub.

Digital temperature control

Wall and floor cooling.

Super silent fan.

Temperature max.: -35 ° C.

264 paraffin blocks can be cooled simultaneously.

Frame made of stainless steel.

Cooling tub made of stainless steel.








Technical specifications:

Dimensions of the device:

W / D / H: 415 x 600 x 320mm

Dimensions of the cooling surface:

W / D / H: 340 x 325 x 50mm

Refrigerant: R290

Weight 32Kg

Connected load: 230V / 50Hz / 300W
[image: image3.png]










Article No. 30031
Para Cooler A flat table cooling plate.     


Digital temperature control

Super silent fan.

Temperature max .: -18 ° C.

96 paraffin blocks can be cooled simultaneously.

Frame made of stainless steel.

Cooling surface made of stainless steel.
Technical specifications:

Dimensions of the device:

W / D / H: 415 x 600 x 280mm

Dimensions of the cooling surface:

B / D 345 x 344mm

Refrigerant: R600a


Weight 24Kg

Connected load: 230V / 50Hz / 300W
Article No. 31000


Quality Made in Germany







